PRODUCT OPTIONS

### PART 1 - GENERAL

1.1	SECTION INCLUDES

A.	This Section establishes procedures for specified product options.

B.	The intent of this section is to insure that specified product options exceed or equal the quality of the specified products and are furnished and installed in accordance with the design intent.

C.	This Section does not apply to any substitution requests that should have been made at time of bid in accordance with the Instructions to Bidders and the bid documents.  The District can reject any requests for substitution in its sole discretion if the Contractor did not submitted a request at the time of bid in accordance with the Instructions to Bidders and the bid documents.

1.2	RELATED SECTIONS

A.	Information for Bidders

B.	Instructions to Bidders

C.	General and Supplementary Conditions

D.	Section 01250- Contract Modification Procedures

E.	Section 01330 - Submittal Procedures

F.	Section 01630 - Product Substitution Procedures

1.3	PRODUCT OPTIONS

A.	Where product options are included in the specifications sections and are specified by naming more than one, or several acceptable products or manufacturers, select any product or manufacturer listed.

1.	Where more than one manufacturer or product is listed in the specifications and only one manufacturer or product is specified in detail with model numbers and features, the one specified in detail shall be considered the standard of quality required for all manufacturers or products listed.

B.	Where product options are included in the specifications and they are followed by an "or equal " or "approved equal" or equal meeting a specified standard, review and approval by the Architect/Engineer and School District is required for Contractor-proposed equal items. Procedures specified in Section 01630 are to be followed.

C.	For items specified only by Reference Standards, select any item meeting standards.

D.	Performance Specifications:  For items specified by performance requirements, select any item meeting the performance standards specified.

E.	Descriptive Specifications: When specifications describe a product or assembly, listing exact components and characteristics, without the use of a brand or trade name, provide a product or assembly that contains the components and characteristics specified.

F.	Compliance with Standards Specifications: When specifications only require compliance with a Code, Regulation or Voluntary Standard, Provide products that comply with the specified Codes, Regulations or Standards.

G.	Submit request, as required for substitution, for any item or manufacturer not specifically named in the specifications on the Substitution Request Form enclosed with the Bidding Documents.

- Architect/Engineer and School District will determine acceptability of proposed substitutions.

PART 2 – PRODUCTS - (Not Applicable)

PART 3 – EXECUTION - (Not Applicable)

# END OF SECTION