WARRANTIES, GUARANTIES AND BONDS

# PART 1 - GENERAL

1.1	WORK INCLUDED

A.	This Section specifies general requirements for written warranties, guaranties and bonds required by the Contract Documents.

B.	Submittal to, and approval by, the District of the warranties, guaranties and bonds are prerequisites to final payment under the Contract.

1.2	RELATED WORK

A.	Related work specified elsewhere:

1.	General Conditions – 00700

2.	Section 01700 - Contract Close-out

1.3	TIME PERIOD

A.	Deliver manufacturers' warranties, guaranties and bonds required by Contract Documents, with District named as beneficiary.  For equipment and machinery, or components thereof, bearing a manufacturer's warranty or guaranty that extends for a longer time period than the Contractor's warranty and guaranty, deliver manufacturer's warranties or guaranties in same manner.

1.4	FORM

A.	Written warranties and guaranties, excepting manufacturer's standard printed warranties and guaranties shall be submitted on the Contractor's, Subcontractors, material suppliers', or manufacturers' own letterhead, addressed to District. Warranties and guaranties shall be submitted in duplicate, and in the form shown on the following page, signed by all pertinent parties and by Contractor in every case, with modifications as approved by District to suit the conditions pertaining to the warranty or guaranty.

1.5	SUBMITTAL

A.	The Contractor shall collect and assemble written warranties and guaranties from all subs, material suppliers and manufacturers into a bound booklet form, and deliver the bound books to Architect/Engineer for delivery to the District's attorney for final review and approval.

- Submit required warranty/guaranty on letterhead of Contractor responsible for each type of Work in accordance with attached sample form.

- The contractor will ensure that the Manufacturers will be scheduled in a timely manner to ensure that the start of the warranty period is well documented.

END OF SECTION