REFERENCES

### PART 1 - GENERAL

1.1	SECTION INCLUDES

A.	Requirements for reference materials applicable to contract documents

B.	Definitions of abbreviations, terms, and symbols.

C.	Establishes edition dates for reference standards found elsewhere in the specifications.

1.2	DEFINITIONS

A.	General:  Basic Contract definitions are included in the General Conditions.

B.	Indicated:  The term "indicated" refers to graphic representations, notes, or schedules on the Drawings, other paragraphs or schedules in the Specifications, and similar requirements in the Contract Documents.  Where terms such as "shown," "noted," "scheduled," and "specified" are used, it is to help the reader locate the reference; no limitation on location is intended.  Except as specifically noted.

C.	Directed:  Terms such as "directed," "requested," "authorized," "selected," "approved," "required," and "permitted" mean "directed by the Architect/Engineer," "requested by the Architect/Engineer," and similar phrases.  However, no such implied meaning will be interpreted to extend Architect/Engineer responsibility into Contractor's area of construction supervision.

D.	Approve:  The term "approved," where used in conjunction with the Architect's/Engineer’s action on the Contractor's submittals, applications, and requests, is limited to the Architect's/Engineer’s duties and responsibilities as stated in General and Supplementary Conditions.  In no case will "approval" by the Architect/Engineer be interpreted as a release of the contractor from responsibilities to fulfill requirements of contract documents.

E.	Regulation:  The term "Regulations" includes laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, as well as rules, conventions, and agreements within the construction industry that control performance of the Work.

F.	Furnish:  The term "furnish" is used to mean "supply and deliver to the Project site, ready for unloading, unpacking, assembly, installation, and similar operations."

G.	Install:  The term "install" is used to describe operations at project site including the actual "unloading, unpacking, assembly, erection, placing, anchoring, applying, working to dimension, finishing, curing, protecting, cleaning, and similar operations."

H.	Provide:  The term "provide" means "to furnish and install, complete and ready for the intended use."

I.	Installer:  An "Installer" is the Contractor or an entity engaged by the Contractor, either as an employee, subcontractor, or sub-subcontractor, for performance of a particular construction activity, including installation, erection, application, and similar operations.  Installers are required to be experienced in the operations they are engaged to perform.

1.	The term "experienced" when used with the term "Installer" means having a minimum of 5 previous Projects similar in size and scope to this Project, being familiar with the precautions required, and having complied with requirements of the authority having jurisdiction.

J.	Project Site is the space available to the Contractor for performance of construction activities, either exclusively or in conjunction with others performing other work as part of the Project.  The extent of the Project Site is shown on the Drawings and may or may not be identical with the description of the land upon which the Project is to be built.

K.	Testing Laboratories:  A "testing laboratory" is an independent entity engaged to perform specific inspections or tests, either at the Project Site or elsewhere, and to report on and, if required, to interpret results of those inspections or tests.

1.3	REFERENCE STANDARDS

A.	Applicability of Standards:  Except where the Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect as if bound or copied directly into the Contract Documents.  Such standards are made a part of the Contract Documents by reference.

B.	Publication Dates:  Where the date of issue of a referenced standard is not specified, comply with the standard in effect as of bid date or date of Contract Execution, for projects that are not competitively bid.

C.	Upon request, the Contractor is required to make available at the job site within a reasonable time a copy of all referenced standards referred to in the Specifications. Standards are to be maintained in the Project Job Site Office Library for use by the Architect/Engineer,  District and District's inspector for the purpose of establishing requirements applicable to equipment, materials, quality and workmanship.

D.	Conflicting Requirements:  Where compliance with two or more standards is specified, and the standards establish different or conflicting requirements for minimum quantities or quality levels, refer requirements that are different, but apparently equal, and uncertainties to the Architect for a decision before proceeding.

1.	Minimum Quantity or Quality Levels:  The quantity or quality level shown or specified shall be the minimum provided or performed.  The actual installation may comply exactly with the minimum quantity or quality specified, or it may exceed the minimum within reasonable limits.  In complying with these requirements, indicated numeric values are minimum or maximum, as appropriate for the context of the requirements.  Refer uncertainties to the Architect for a decision before proceeding.

1.4	ABBREVIATIONS

A.	Abbreviations and Names:  Trade association names and titles of general standards are frequently abbreviated.  Where such acronyms or abbreviations are used in the Specifications or other Contract Documents, they mean the recognized name of the trade association, standards generating organization, authority having jurisdiction, or other entity applicable to the context of the text provision.

B.	Refer to the "Encyclopedia of Associations," published by Gale Research Co., available in most libraries or the Construction Specifications Institute (CSI) Technical Document TD-2-5 November 1989, entitled "Sources of Construction Information".

PART 2 – PRODUCTS - (Not Applicable)

PART 3 – EXECUTION - (Not Applicable)

# END OF SECTION