PRODUCT SUBSTITUTION PROCEDURES

### PART 1 - GENERAL

1.1	SECTION INCLUDES

A.	This Section establishes procedures for Contractor submittal of substitutions.  This Section does not apply to any substitution requests that should have been made at time of bid in accordance with the Instructions to Bidders and the bid documents.  The District can reject any requests for substitution in its sole discretion if the Contractor did not submitted a request at the time of bid in accordance with the Instructions to Bidders and the bid documents.

B.	This Section provides procedures for review and compliance with Public Contract Code section 3400 for the "or equal" clause allowing bidders to furnish any equal material, product, thing or service.  Or equal items proposed by bidders are considered substitutions and are subject to approval of the Architect and School District. Burden of proof for "Or Equals” is the responsibility of the Contractor.

C.	The intent of this section is to insure that proposed substitutions exceed or equal the quality of the specified products and are furnished and installed in accordance with the Contract Documents.

1.2	RELATED SECTIONS

A.	Information for Bidders

B.	General and Supplementary Conditions

C.	Section 01620 - Product Options

D.	Section 01250- Contract Modification Procedures

1.3	SUBSTITUTIONS

A.	Substitution requests are to be submitted by Prime Contractors Only. Requests submitted by Subcontractors, Material Suppliers, Manufacturers and other interested parties, other than Prime Contractors, will not be considered. Submit requests on the attached SUBSTITUTION REQUEST FORM (AFTER BID) in section 1305.

B.	Comply with provisions of Articles for Substitutions in the Information for Bidders, General Conditions and any modifications to these documents provided in the Supplementary Conditions.

C.	Tabulate products by specification section number and title.

D.	Submit separate request for each substitution.  Support each request with the information and documents below and any other requirements in the General Conditions Article 3.10.:

1.	Complete data substantiating compliance of proposed substitution with requirements stated in Contract Documents:

a.	Product identification, including manufacturer's name and address.

b.	Manufacturer's literature; identify:

i.	Product description.

ii.	Reference standards.

iii.	Performance and test data.

iv.	Fire resistance and fire ratings.

c.	Samples, as applicable.

d.	Name and address of similar projects on which product has been used, and date of each installation.

2.	Itemized comparison of the proposed substitution with product specified; list significant variations.

3.	Any effect the substitution may have on other trade contracts.

4.	List of changes required in other work or products.

5.	Accurate cost data comparing proposed substitution with product specified.

a.	Amount of any change in cost.

6.	Designation of required license fees or royalties.

7.	Designation of availability of maintenance services, sources of replacement materials.

8.	Comparison of physical size and weight with product specified.

9.	Comparison of physical shape and available finishes.

E.	Substitutions will not be considered for acceptance when:

1.	They are indicated or implied on shop drawings or product data submittals and where not approved in compliance with the General Conditions and this section.

2.	Substitution request procedures included in this Section, the Information for Bidders, and in the General and Supplementary Conditions are not complied with by the Contractor.

3.	The School District has determined that compatibility, standardization, technological sophistication, service and uniformity are necessary with regard to technological and certain safety items across the Schools in the District.

4.	The request for substitution, as determined by the District, should have been submitted at the time of bid in accordance with the Instructions to Bidders and the bid documents.

F.	Substitute products shall not be installed in the construction without written acceptance of the Architect and School District.

G.	Architect and School District will determine acceptability of proposed substitutions prior to awarding of the Contract. Substitutions may be approved after award of the Contract only where the following conditions exist and only at the School District’s sole discretion:

1.	Specified item has been discontinued or is not unavailable to meet project schedule.

2.	The School District requested the Substitution.

3.	Substitution will reduce the Contract Amount and Contract Time (Credit Back to the District) without reducing quality.

1.4	CONTRACTOR'S SUBSTITUTION CERTIFICATION

A.	In making formal request for substitution contractor certifies that:

1.	He has investigated proposed product and has determined that it is equal to or superior in all respects to that specified.

2.	He will provide same warranties or bonds for substitution as for product specified.

3.	He will coordinate installation of accepted substitution into the work, and will make such changes as may be required for the work to be complete in all respects including modification of the work of other trades.

4.	He waives claims for additional costs caused by substitution which may subsequently become apparent.

5.	Substituted material is similar in physical appearance, size and weight and will install with the same opening and attachments.

6.	Substituted material has the same or better fire rating and fire resistive qualities, including flame spread, smoke developed, UL tested and listing.

7.	Meets all requirement set forth in the General Conditions Article 3.10.

1.5	ARCHITECT'S/ENGINEER’S DUTIES

A.	Review contractor's request for substitutions with reasonable promptness.

B.	Consult with District and provide notification to contractor, in writing, of decision to accept or reject requested substitution.

1.6	AVAILABILITY OF SPECIFIED ITEMS

A.	Verify prior to bidding that all specified and substituted items will be available in time for installation during orderly and timely progress of the work.

B.	In the event specified items will not be available, notify the Architect prior to receipt of bids.

C.	Cost of delays because of non-availability of specified items, when such delays could have been avoided by the Contractor, will be back-charged as necessary and shall not be borne by the Architect or School District.

1.7	SUBSTITUTION WARRANTY REQUIREMENTS

A.	Submit with the substitution request an executed Substitution Warranty. The Form is provided at the end of this Section. This form shall apply to substitutions submitted for acceptance prior to bid, prior to award of contract and for substitutions required after contract has been executed.

B.	The Contractor is to warrant, in writing on company letterhead, that the substituted items are to perform as specified, and assume complete responsibility for the same. This includes responsibility and costs required for modifications to building, other materials, or equipment, and any additional coordination with work of other trades. The Contractor if required or requested by the Architect or School District shall pay for testing, of Substitution proposed.

PART 2 – PRODUCTS - (Not Applicable)

PART 3 – EXECUTION - (Not Applicable)

# END OF SECTION